Total Fire Ban Activity Checklist – Hot Work

** see Bush Fires Regulations 1954 regulations 24E-24J

Total Fire Bans (section 22C Bush Fires Act 1954) only apply to those activities being carried out in the open air, open air is defined as: anywhere that is not fully enclosed by a building or structure

| Total Fire Ban – Hot Work Activity checklist |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Do you comply? |  |  |
| Regulation | Check | Yes | No | N/A |
| r.24E(a) | Hot Work does not include rail grinding (see definition next page) |  |  |  |
| r.24E(b) | Activity is being carried out by business or industry, or by or on behalf of, a public authority. i.e. the general public cannot carry out this activity during a TFB. |  |  |  |
| r.24F(1),(2) | Fire Danger forecast is not catastrophic (if catastrophic - work must stop unless it is being carried out in relation to the provision of an essential service) https://www.emergency.wa.gov.au/index.html#firedangerratings |  |  |  |
| r.24G | Notification provided to DFES and LG via online notification form. https://dfeswa.tod.net.au/incidents/new/3d2fd2f6598ce7bb63b923363ef6a04b If work is being carried out within 3kms of land managed by Parks and Wildlife, you must also notify them prior to starting work. |  |  |  |
| r.24H(1) | Fire-resistant barriers of a height sufficient to prevent the escape of hot particles or sparks are placed around the hot work? |  |  |  |
| r.24H(3)(a)(b) | Is the ground within a 10 m radius of the hot work clear of flammable material and damped down with water (where required)? |  |  |  |
| r.24H(4) | Fire breaks meet LG requirements (if applicable). |  |  |  |
| r.24I(1) | At least 2 approved fire extinguishers in proper working order must be located in close proximity to the hot work. (must be 18 kg or 18 L total capacity e.g. 2 x 9 kg or 4 x 4.5 kg etc). |  |  |  |
| r.24I(2) | If hot work is carried out within 30 m of land where there is bush, crop, pasture or stubble firefighting water volume required has been met according to fire danger forecast: Moderate = 1,000 L High = 1,500 L Extreme = 2,500 L When the fire danger forecast issued by the Bureau of Meteorology is no-rating a minimum of 500L of water must be available at the worksite in one or more firefighting vehicles. |  |  |  |
| r.24I(3) | If r.24I(2) applies – is the water required contained in 1 or more approved fire fighting vehicles? |  |  |  |
| r.24I(4)(a)(b) | All fire fighting vehicles required are located in close proximity to the hot work AND are capable of traversing the work site (i.e. the vehicles mobile – not on a trailer which has been unhitched and left on the side of the work site) |  |  |  |
| r.24I(5)(a)(b) | If r.24I(4) applies – the fire fighting vehicles will remain on the work site at all times AND remain on the work site for at least 30 minutes AFTER the hot work is completed. |  |  |  |
| r.24I(6) | Is there a reticulated water supply within 1 km of the hot work? |  |  |  |
| r.24I(7)9(a)(b) | If there is no reticulated water supply within 1 km of the hot work – is there a bulk water supply tanker carrying 5,000 L or more of water on the work site at all times AND will the tanker remain on the work site for at least 30 minutes AFTER the hot work is complete. ** this is in addition to firefighting requirements under r.24I(2). |  |  |  |
| r.24J(1) | At all times during the hot work being carried out there is at least 1 able bodied person (fire detection officer), other than the person carrying out the hot work, who is dedicated solely to detecting and supressing any fire caused by hot work, and who is in close proximity to the hot work. |  |  |  |
| r.24J(2)(a) | Is the fire detection officer trained in the operation of the approved fire extinguishers? |  |  |  |
| [r.24J(2)(b)(i)(ii) | If the hot work is within 30 m of land which there is bush or which is under crop or pasture or stubble – is the fire detection officer trained in both the operation of the fire fighting vehicles required under R.24I(3) AND the suppression and fighting of bush fire. |  |  |  |
| r.24J(3) | The fire detection officer AND at least 1 other able-bodied person will remain on the work site for at least 30 minutes AFTER the hot work is completed. This will ensure |  |  |  |
| r.24J(4) | The persons referred to above will only leave the work site after they are satisfied there is no fire, or anything likely to cause a fire, on the work site. |  |  |  |

Definitions:

Essential service means any of the following — water supply, sewerage or drainage services; electricity or gas services; telecommunications services; public transport services; rubbish collection or disposal services.

Urgent works, in relation to the provision of an essential service, means repairs or maintenance necessary for the continued provision, or restoration, of the service.

Approved fire extinguisher means a fire extinguisher suitable to extinguish a fire likely to occur in relation to the activity; and has a capacity of at least 9 kg or 9 L; and complies with the current Australian Standards.

Approved Fire Fighting Vehicle: means a vehicle that —  (a)	has 1 or more water storage tanks mounted upon it; and  (b) is located in close proximity to the hot work (c) is capable of traversing the site (d) is equipped with: at least 20 m of 19 mm diameter fire hose fitted with an adjustable nozzle in proper working order, having a full spray pattern capable of projecting a 6 m jet of water; AND a pump in proper working order that is capable of delivering a minimum of 120 L of water per minute at 700 kPa through the hose.

Hot work:  means the operation in the open air of — (a) welding apparatus of any kind; or (b) power operated abrasive cutting discs of any kind.

Fire Break Notice: means a notice issued by the relevant local government under section 33(1) of the Bush Fires Act 1954.

Fire Detection Officer: means an able-bodied person, in addition to the person carrying out the hot work, who is trained in: the operation of approved fire extinguishers, and the operation of any required approved firefighting vehicle located on the site, AND if within 30m of vegetation, the suppression and fighting of bush fire.

Bush: The Bush Fires Act 1954 defines bush as follows - bush includes trees, bushes, plants, stubble, scrub, and undergrowth of all kinds whatsoever whether alive or dead and whether standing or not standing and also a part of a tree, bush, plant, or undergrowth, and whether severed therefrom or not so severed. ** to simplify – this definition refers to vegetation.

Open Air: Open air means anywhere that is not fully enclosed by a building or structure.

Rail Grinding: means hot work involving the grinding of tracks for railways for the purpose of constructing, maintaining or repairing the tracks.

For further information, please contact the Regulation and Compliance Team.

## Contact Details:

- Email: regulation.compliance@dfes.wa.gov.au

- Contact number: 08 9395 9911